## BOQ_Data
Main Category | Sub System | Family | Work Type | Title | No | Description | Unit | Default Qty | Unit Price
HVAC | DX System | Hi-Wall Units | Hook-UP | Supply Hi-Wall Units Hook-Up | 1 | Supply wall mounting bracket / fixing plate | Set | 1 | 45
HVAC | DX System | Hi-Wall Units | Hook-UP | Supply Hi-Wall Units Hook-Up | 2 | Supply anti-vibration pads and fixing accessories | LS | 1 | 20
HVAC | DX System | Hi-Wall Units | Hook-UP | Supply Hi-Wall Units Hook-Up | 3 | Supply refrigerant connection accessories including flare nuts | LS | 1 | 45
HVAC | DX System | Hi-Wall Units | Hook-UP | Supply Hi-Wall Units Hook-Up | 4 | Supply condensate drain connection accessories | LS | 1 | 25
HVAC | DX System | Hi-Wall Units | Hook-UP | Supply Hi-Wall Units Hook-Up | 5 | Supply control wiring and electrical termination accessories | LS | 1 | 25
HVAC | DX System | Hi-Wall Units | Hook-UP | Supply Hi-Wall Units Hook-Up | 6 | Supply PVC trunking / wall sleeve / sealant as required | LS | 1 | 40
HVAC | DX System | Hi-Wall Units | Labor | Installation Hi-Wall Units Complete Hook-Up | 1 | Complete installation of hi-wall indoor/outdoor unit hook-up including fixing, piping connection, drain connection, wiring termination, vacuum, leak test and commissioning | LS | 1 | 200
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 1 | Supply threaded rods, channel supports, anchors and hangers | LS | 1 | 90
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 2 | Supply anti-vibration hangers / pads | Set | 1 | 60
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 3 | Supply refrigerant connection accessories | LS | 1 | 65
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 4 | Supply condensate drain pipe connection accessories | LS | 1 | 45
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 5 | Supply flexible duct connectors / canvas connections | Set | 2 | 75
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 6 | Supply plenum connection accessories and damper fixing materials | LS | 1 | 110
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 7 | Supply thermostat cable and control accessories | LS | 1 | 35
HVAC | DX System | Concealed Ducted Units | Hook-UP | Supply Concealed Ducted Units Hook-Up | 8 | Supply access panel fixing accessories as required | LS | 1 | 40
HVAC | DX System | Concealed Ducted Units | Labor | Installation Concealed Ducted Units Complete Hook-Up | 1 | Complete installation of concealed ducted unit hook-up including suspension, duct/plenum connections, refrigerant and drain connections, controls, testing and commissioning | LS | 1 | 450
HVAC | DX System | Cassette Units | Hook-UP | Supply Cassette Units Hook-Up | 1 | Supply hanger rods, anchors and fixing accessories | LS | 1 | 70
HVAC | DX System | Cassette Units | Hook-UP | Supply Cassette Units Hook-Up | 2 | Supply refrigerant connection accessories | LS | 1 | 60
HVAC | DX System | Cassette Units | Hook-UP | Supply Cassette Units Hook-Up | 3 | Supply condensate drain and drain pump connection accessories | LS | 1 | 55
HVAC | DX System | Cassette Units | Hook-UP | Supply Cassette Units Hook-Up | 4 | Supply fresh air / duct neck connection accessories if required | LS | 1 | 35
HVAC | DX System | Cassette Units | Hook-UP | Supply Cassette Units Hook-Up | 5 | Supply control wiring and thermostat accessories | LS | 1 | 50
HVAC | DX System | Cassette Units | Hook-UP | Supply Cassette Units Hook-Up | 6 | Supply decorative panel fixing and sealing accessories | LS | 1 | 80
HVAC | DX System | Cassette Units | Labor | Installation Cassette Units Complete Hook-Up | 1 | Complete installation of cassette unit hook-up including suspension, panel fitting, drain pump/drain line connection, refrigerant connection, controls, testing and commissioning | LS | 1 | 400
HVAC | DX System | Floor Standing Units | Hook-UP | Supply Floor Standing Units Hook-Up | 1 | Supply base fixing accessories and anti-vibration pads | LS | 1 | 60
HVAC | DX System | Floor Standing Units | Hook-UP | Supply Floor Standing Units Hook-Up | 2 | Supply refrigerant connection accessories | LS | 1 | 80
HVAC | DX System | Floor Standing Units | Hook-UP | Supply Floor Standing Units Hook-Up | 3 | Supply condensate drain connection accessories | LS | 1 | 35
HVAC | DX System | Floor Standing Units | Hook-UP | Supply Floor Standing Units Hook-Up | 4 | Supply control wiring and power termination accessories | LS | 1 | 50
HVAC | DX System | Floor Standing Units | Hook-UP | Supply Floor Standing Units Hook-Up | 5 | Supply wall sleeve, sealant and consumables | LS | 1 | 40
HVAC | DX System | Floor Standing Units | Labor | Installation Floor Standing Units Complete Hook-Up | 1 | Complete installation of floor standing unit hook-up including positioning, fixing, refrigeration/drain/power/control connections, testing and commissioning | LS | 1 | 350
HVAC | DX System | Package Rooftop Units | Hook-UP | Supply Package Rooftop Units Hook-Up | 1 | Supply vibration isolators / neoprene pads | Set | 1 | 250
HVAC | DX System | Package Rooftop Units | Hook-UP | Supply Package Rooftop Units Hook-Up | 2 | Supply duct flexible connector / canvas connection | Set | 2 | 140
HVAC | DX System | Package Rooftop Units | Hook-UP | Supply Package Rooftop Units Hook-Up | 3 | Supply condensate drain trap and accessories | LS | 1 | 70
HVAC | DX System | Package Rooftop Units | Hook-UP | Supply Package Rooftop Units Hook-Up | 4 | Supply electrical termination and control accessories | LS | 1 | 90
HVAC | DX System | Package Rooftop Units | Hook-UP | Supply Package Rooftop Units Hook-Up | 5 | Supply flashing, weatherproofing sealant and consumables | LS | 1 | 80
HVAC | DX System | Package Rooftop Units | Labor | Installation Package Rooftop Units Complete Hook-Up | 1 | Complete installation hook-up for rooftop package unit including alignment on curb/base, duct connections, drain trap, electrical/control terminations, testing and commissioning | LS | 1 | 800
HVAC | VRV / VRF System | VRV Indoor Hi-Wall Units | Hook-UP | Supply VRV Indoor Hi-Wall Units Hook-Up | 1 | Supply wall bracket, fixing materials and anchors | LS | 1 | 40
HVAC | VRV / VRF System | VRV Indoor Hi-Wall Units | Hook-UP | Supply VRV Indoor Hi-Wall Units Hook-Up | 2 | Supply refrigerant branch connection accessories | LS | 1 | 60
HVAC | VRV / VRF System | VRV Indoor Hi-Wall Units | Hook-UP | Supply VRV Indoor Hi-Wall Units Hook-Up | 3 | Supply condensate drain connection accessories | LS | 1 | 30
HVAC | VRV / VRF System | VRV Indoor Hi-Wall Units | Hook-UP | Supply VRV Indoor Hi-Wall Units Hook-Up | 4 | Supply communication cable accessories and terminations | LS | 1 | 35
HVAC | VRV / VRF System | VRV Indoor Hi-Wall Units | Hook-UP | Supply VRV Indoor Hi-Wall Units Hook-Up | 5 | Supply addressing labels and consumables | LS | 1 | 16
HVAC | VRV / VRF System | VRV Indoor Hi-Wall Units | Labor | Installation VRV Indoor Hi-Wall Units Complete Hook-Up | 1 | Complete installation of VRV hi-wall indoor unit hook-up including fixing, refrigerant and drain connections, communication wiring, addressing and commissioning support | LS | 1 | 180
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Hook-UP | Supply VRV Concealed Ducted Indoor Units Hook-Up | 1 | Supply threaded rods, channels, anchors and hangers | LS | 1 | 90
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Hook-UP | Supply VRV Concealed Ducted Indoor Units Hook-Up | 2 | Supply anti-vibration hangers | Set | 1 | 60
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Hook-UP | Supply VRV Concealed Ducted Indoor Units Hook-Up | 3 | Supply refrigerant and refnet connection accessories | LS | 1 | 80
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Hook-UP | Supply VRV Concealed Ducted Indoor Units Hook-Up | 4 | Supply condensate drain connection accessories | LS | 1 | 40
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Hook-UP | Supply VRV Concealed Ducted Indoor Units Hook-Up | 5 | Supply flexible duct connectors and plenum accessories | LS | 1 | 120
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Hook-UP | Supply VRV Concealed Ducted Indoor Units Hook-Up | 6 | Supply communication cable accessories and controller wiring | LS | 1 | 55
HVAC | VRV / VRF System | VRV Concealed Ducted Indoor Units | Labor | Installation VRV Concealed Ducted Indoor Units Complete Hook-Up | 1 | Complete installation of VRV concealed indoor unit hook-up including hanging, duct/plenum connection, refrigerant/drain/control connections, addressing and commissioning support | LS | 1 | 420
HVAC | VRV / VRF System | VRV Cassette Indoor Units | Hook-UP | Supply VRV Cassette Indoor Units Hook-Up | 1 | Supply hanger rods, anchors and fixing accessories | LS | 1 | 75
HVAC | VRV / VRF System | VRV Cassette Indoor Units | Hook-UP | Supply VRV Cassette Indoor Units Hook-Up | 2 | Supply refrigerant and refnet connection accessories | LS | 1 | 75
HVAC | VRV / VRF System | VRV Cassette Indoor Units | Hook-UP | Supply VRV Cassette Indoor Units Hook-Up | 3 | Supply drain pump/drain connection accessories | LS | 1 | 55
HVAC | VRV / VRF System | VRV Cassette Indoor Units | Hook-UP | Supply VRV Cassette Indoor Units Hook-Up | 4 | Supply communication cable and controller accessories | LS | 1 | 50
HVAC | VRV / VRF System | VRV Cassette Indoor Units | Hook-UP | Supply VRV Cassette Indoor Units Hook-Up | 5 | Supply decorative panel and sealing accessories | LS | 1 | 40
HVAC | VRV / VRF System | VRV Cassette Indoor Units | Labor | Installation VRV Cassette Indoor Units Complete Hook-Up | 1 | Complete installation of VRV cassette indoor unit hook-up including suspension, panel, refrigerant/drain/control connections, addressing and commissioning support | LS | 1 | 380
HVAC | VRV / VRF System | VRV Outdoor Units | Hook-UP | Supply VRV Outdoor Units Hook-Up | 1 | Supply anti-vibration pads / spring isolators | Set | 1 | 300
HVAC | VRV / VRF System | VRV Outdoor Units | Hook-UP | Supply VRV Outdoor Units Hook-Up | 2 | Supply refrigerant header/refnet connection accessories | LS | 1 | 160
HVAC | VRV / VRF System | VRV Outdoor Units | Hook-UP | Supply VRV Outdoor Units Hook-Up | 3 | Supply condensate drain tray / drain connection accessories if required | LS | 1 | 70
HVAC | VRV / VRF System | VRV Outdoor Units | Hook-UP | Supply VRV Outdoor Units Hook-Up | 4 | Supply control wiring termination accessories | LS | 1 | 80
HVAC | VRV / VRF System | VRV Outdoor Units | Hook-UP | Supply VRV Outdoor Units Hook-Up | 5 | Supply equipment labels, supports and consumables | LS | 1 | 60
HVAC | VRV / VRF System | VRV Outdoor Units | Labor | Installation VRV Outdoor Units Complete Hook-Up | 1 | Complete installation of VRV outdoor unit hook-up including placement, alignment, refrigerant manifold connections, controls, nitrogen pressure test, vacuum, charging support and commissioning | LS | 1 | 900
HVAC | VRV / VRF System | Branch Selector / BS Box | Hook-UP | Supply Branch Selector / BS Box Hook-Up | 1 | Supply threaded rods, brackets and fixing accessories | LS | 1 | 60
HVAC | VRV / VRF System | Branch Selector / BS Box | Hook-UP | Supply Branch Selector / BS Box Hook-Up | 2 | Supply refrigerant branch connection accessories | LS | 1 | 110
HVAC | VRV / VRF System | Branch Selector / BS Box | Hook-UP | Supply Branch Selector / BS Box Hook-Up | 3 | Supply insulation finishing accessories | LS | 1 | 50
HVAC | VRV / VRF System | Branch Selector / BS Box | Hook-UP | Supply Branch Selector / BS Box Hook-Up | 4 | Supply communication/control wiring accessories | LS | 1 | 40
HVAC | VRV / VRF System | Branch Selector / BS Box | Labor | Installation Branch Selector / BS Box Complete Hook-Up | 1 | Complete installation of BS box / branch selector hook-up including fixing, refrigerant branch connections, insulation finishing, control wiring and commissioning support | LS | 1 | 350
HVAC | Chilled Water System | Fan Coil Units - FCU | Hook-UP | Supply Fan Coil Units - FCU Hook-Up | 1 | Supply flexible connectors and union accessories | Set | 1 | 120
HVAC | Chilled Water System | Fan Coil Units - FCU | Hook-UP | Supply Fan Coil Units - FCU Hook-Up | 2 | Supply isolation valves, strainer and balancing valve accessories | Set | 1 | 290
HVAC | Chilled Water System | Fan Coil Units - FCU | Hook-UP | Supply Fan Coil Units - FCU Hook-Up | 3 | Supply drain connection accessories and trap | LS | 1 | 55
HVAC | Chilled Water System | Fan Coil Units - FCU | Hook-UP | Supply Fan Coil Units - FCU Hook-Up | 4 | Supply threaded rods, supports and anti-vibration accessories | LS | 1 | 90
HVAC | Chilled Water System | Fan Coil Units - FCU | Hook-UP | Supply Fan Coil Units - FCU Hook-Up | 5 | Supply thermostat cable and control valve accessories | LS | 1 | 80
HVAC | Chilled Water System | Fan Coil Units - FCU | Hook-UP | Supply Fan Coil Units - FCU Hook-Up | 6 | Supply insulation finishing and valve box accessories | LS | 1 | 90
HVAC | Chilled Water System | Fan Coil Units - FCU | Labor | Installation Fan Coil Units - FCU Complete Hook-Up | 1 | Complete installation of FCU hook-up including suspension, CHW valve package connection, drain connection, control valve/thermostat wiring, flushing support, testing and commissioning | LS | 1 | 550
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 1 | Supply flexible pipe connectors and flange accessories | Set | 1 | 540
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 2 | Supply valve package accessories including strainer, gauges and thermometers | Set | 1 | 900
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 3 | Supply vibration isolators / spring mounts | Set | 1 | 720
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 4 | Supply duct canvas/flexible connectors | Set | 2 | 360
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 5 | Supply drain trap and condensate accessories | LS | 1 | 110
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 6 | Supply control valve, actuator accessories and BMS termination materials | LS | 1 | 315
HVAC | Chilled Water System | Air Handling Units - AHU | Hook-UP | Supply Air Handling Units - AHU Hook-Up | 7 | Supply insulation cladding/finishing accessories around valves | LS | 1 | 240
HVAC | Chilled Water System | Air Handling Units - AHU | Labor | Installation Air Handling Units - AHU Complete Hook-Up | 1 | Complete installation of AHU hook-up including positioning/alignment, chilled water connections, valve package, duct canvas, drain trap, controls/BMS terminations, testing and commissioning | LS | 1 | 1800
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Hook-UP | Supply Fresh Air Handling Units - FAHU Hook-Up | 1 | Supply flexible connectors and flange accessories | Set | 1 | 570
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Hook-UP | Supply Fresh Air Handling Units - FAHU Hook-Up | 2 | Supply valve package accessories including strainer, gauges and thermometers | Set | 1 | 960
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Hook-UP | Supply Fresh Air Handling Units - FAHU Hook-Up | 3 | Supply vibration isolators / spring mounts | Set | 1 | 780
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Hook-UP | Supply Fresh Air Handling Units - FAHU Hook-Up | 4 | Supply duct flexible connectors and weatherproofing accessories | Set | 2 | 420
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Hook-UP | Supply Fresh Air Handling Units - FAHU Hook-Up | 5 | Supply drain trap, condensate and humidifier drain accessories if required | LS | 1 | 160
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Hook-UP | Supply Fresh Air Handling Units - FAHU Hook-Up | 6 | Supply control valve, actuator and BMS termination materials | LS | 1 | 340
HVAC | Chilled Water System | Fresh Air Handling Units - FAHU | Labor | Installation Fresh Air Handling Units - FAHU Complete Hook-Up | 1 | Complete installation of FAHU hook-up including alignment, chilled water valve package, duct connections, drains, controls/BMS terminations, testing and commissioning | LS | 1 | 2200
HVAC | Chilled Water System | Chilled Water Pumps | Hook-UP | Supply Chilled Water Pumps Hook-Up | 1 | Supply flexible connectors, flanges, gaskets and bolts | Set | 1 | 540
HVAC | Chilled Water System | Chilled Water Pumps | Hook-UP | Supply Chilled Water Pumps Hook-Up | 2 | Supply pressure gauges, test points and accessories | Set | 1 | 195
HVAC | Chilled Water System | Chilled Water Pumps | Hook-UP | Supply Chilled Water Pumps Hook-Up | 3 | Supply suction diffuser / strainer connection accessories if required | LS | 1 | 480
HVAC | Chilled Water System | Chilled Water Pumps | Hook-UP | Supply Chilled Water Pumps Hook-Up | 4 | Supply vibration isolators and inertia base fixing accessories | Set | 1 | 500
HVAC | Chilled Water System | Chilled Water Pumps | Hook-UP | Supply Chilled Water Pumps Hook-Up | 5 | Supply drain line and vent accessories | LS | 1 | 90
HVAC | Chilled Water System | Chilled Water Pumps | Labor | Installation Chilled Water Pumps Complete Hook-Up | 1 | Complete installation of chilled water pump hook-up including placement, alignment, piping accessories, vibration isolation, electrical coordination, testing and commissioning | LS | 1 | 900
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 1 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN25 (1 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 95
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 2 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN32 (1 1/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 115
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 3 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN40 (1 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 145
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 4 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN50 (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 185
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 5 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN65 (2 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 240
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 6 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN80 (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 310
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 7 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN100 (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 420
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 8 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN125 (5 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 570
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 9 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN150 (6 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 760
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 10 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN200 (8 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 1120
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 11 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN250 (10 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 1550
HVAC | Chilled Water System | Chilled Water Steel Pipe Network | Supply & Install | Supply & Install Chilled Water Steel Pipes by Size | 12 | Supply and install black steel chilled water pipe with insulation and vapor barrier DN300 (12 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes primer/paint, insulation finishing and flushing/hydrotest support; excludes major valves/equipment. | m | 1 | 2050
HVAC | Chilled Water System | Air Cooled Chillers | Hook-UP | Supply Air Cooled Chillers Hook-Up | 1 | Supply anti-vibration spring isolators / pads | Set | 1 | 1250
HVAC | Chilled Water System | Air Cooled Chillers | Hook-UP | Supply Air Cooled Chillers Hook-Up | 2 | Supply flexible connectors, flanges, gaskets and bolts | Set | 1 | 810
HVAC | Chilled Water System | Air Cooled Chillers | Hook-UP | Supply Air Cooled Chillers Hook-Up | 3 | Supply gauges, thermometers and test points | Set | 1 | 330
HVAC | Chilled Water System | Air Cooled Chillers | Hook-UP | Supply Air Cooled Chillers Hook-Up | 4 | Supply drain/vent accessories and insulation finishing materials | LS | 1 | 225
HVAC | Chilled Water System | Air Cooled Chillers | Hook-UP | Supply Air Cooled Chillers Hook-Up | 5 | Supply control/BMS termination accessories | LS | 1 | 360
HVAC | Chilled Water System | Air Cooled Chillers | Hook-UP | Supply Air Cooled Chillers Hook-Up | 6 | Supply labels, consumables and weatherproofing materials | LS | 1 | 160
HVAC | Chilled Water System | Air Cooled Chillers | Labor | Installation Air Cooled Chillers Complete Hook-Up | 1 | Complete installation hook-up for air cooled chiller including placement coordination, pipe connection, vibration isolation, controls/BMS interface, hydrotest/flushing support and commissioning assistance | LS | 1 | 4500
HVAC | Chilled Water System | Expansion Tanks | Hook-UP | Supply Expansion Tanks Hook-Up | 1 | Supply isolation valves and flexible connection accessories | Set | 1 | 210
HVAC | Chilled Water System | Expansion Tanks | Hook-UP | Supply Expansion Tanks Hook-Up | 2 | Supply pressure gauge and drain accessories | LS | 1 | 70
HVAC | Chilled Water System | Expansion Tanks | Hook-UP | Supply Expansion Tanks Hook-Up | 3 | Supply supports, brackets and fixing accessories | LS | 1 | 90
HVAC | Chilled Water System | Expansion Tanks | Labor | Installation Expansion Tanks Complete Hook-Up | 1 | Complete installation of expansion tank hook-up including positioning, supports, piping connection, pressure setting support, testing and commissioning | LS | 1 | 350
HVAC | Chilled Water System | Air Separator / Dirt Separator | Hook-UP | Supply Air Separator / Dirt Separator Hook-Up | 1 | Supply flanges, gaskets, bolts and connection accessories | Set | 1 | 290
HVAC | Chilled Water System | Air Separator / Dirt Separator | Hook-UP | Supply Air Separator / Dirt Separator Hook-Up | 2 | Supply drain valve, air vent and gauge accessories | LS | 1 | 160
HVAC | Chilled Water System | Air Separator / Dirt Separator | Hook-UP | Supply Air Separator / Dirt Separator Hook-Up | 3 | Supply pipe supports and insulation finishing accessories | LS | 1 | 140
HVAC | Chilled Water System | Air Separator / Dirt Separator | Labor | Installation Air Separator / Dirt Separator Complete Hook-Up | 1 | Complete installation of air/dirt separator hook-up including lifting/positioning, flanged piping connections, drain/vent accessories, insulation finishing and testing | LS | 1 | 550
HVAC | Air Distribution | GI Ductwork | Hook-UP | Supply GI Ductwork Hook-Up | 1 | Supply GI duct accessories, cleats, corners and joints | m2 | 1 | 25
HVAC | Air Distribution | GI Ductwork | Hook-UP | Supply GI Ductwork Hook-Up | 2 | Supply hangers, threaded rods, channels and anchors | m2 | 1 | 16
HVAC | Air Distribution | GI Ductwork | Hook-UP | Supply GI Ductwork Hook-Up | 3 | Supply duct sealant, gaskets and consumables | m2 | 1 | 12
HVAC | Air Distribution | GI Ductwork | Hook-UP | Supply GI Ductwork Hook-Up | 4 | Supply access doors and inspection accessories allowance | LS | 1 | 65
HVAC | Air Distribution | GI Ductwork | Labor | Installation GI Ductwork Complete | 1 | Complete installation of GI ductwork family including fabrication support, erection, alignment, supports, sealing, access doors and leakage test preparation | LS | 1 | 35
HVAC | Air Distribution | Pre-Insulated Ductwork | Hook-UP | Supply Pre-Insulated Ductwork Hook-Up | 1 | Supply duct joining profiles, flanges and corners | m2 | 1 | 35
HVAC | Air Distribution | Pre-Insulated Ductwork | Hook-UP | Supply Pre-Insulated Ductwork Hook-Up | 2 | Supply supports, hangers and fixing accessories | m2 | 1 | 16
HVAC | Air Distribution | Pre-Insulated Ductwork | Hook-UP | Supply Pre-Insulated Ductwork Hook-Up | 3 | Supply sealant, tape and consumables | m2 | 1 | 10
HVAC | Air Distribution | Pre-Insulated Ductwork | Labor | Installation Pre-Insulated Ductwork Complete | 1 | Complete installation of pre-insulated ductwork including cutting/assembly, erection, supports, sealing and leakage test preparation | LS | 1 | 30
HVAC | Air Distribution | Flexible Duct | Hook-UP | Supply Flexible Duct Hook-Up | 1 | Supply flexible duct collars, clamps and accessories | LS | 1 | 45
HVAC | Air Distribution | Flexible Duct | Hook-UP | Supply Flexible Duct Hook-Up | 2 | Supply insulation tape, sealant and consumables | LS | 1 | 20
HVAC | Air Distribution | Flexible Duct | Hook-UP | Supply Flexible Duct Hook-Up | 3 | Supply supports and saddles as required | LS | 1 | 30
HVAC | Air Distribution | Flexible Duct | Labor | Installation Flexible Duct Complete Hook-Up | 1 | Complete installation of flexible duct hook-up including connection between duct/plenum and air outlet, support, sealing and adjustment | LS | 1 | 45
HVAC | Air Distribution | Air Outlets - Diffusers / Grilles | Hook-UP | Supply Air Outlets - Diffusers / Grilles Hook-Up | 1 | Supply screws, frames, gaskets and fixing accessories | LS | 1 | 16
HVAC | Air Distribution | Air Outlets - Diffusers / Grilles | Hook-UP | Supply Air Outlets - Diffusers / Grilles Hook-Up | 2 | Supply opposed blade damper fixing accessories if required | LS | 1 | 30
HVAC | Air Distribution | Air Outlets - Diffusers / Grilles | Hook-UP | Supply Air Outlets - Diffusers / Grilles Hook-Up | 3 | Supply sealant and finishing consumables | LS | 1 | 15
HVAC | Air Distribution | Air Outlets - Diffusers / Grilles | Labor | Installation Air Outlets - Diffusers / Grilles Complete Hook-Up | 1 | Complete installation of diffuser/grille hook-up including fixing, alignment, connection to flexible duct/plenum, sealing and airflow adjustment support | LS | 1 | 35
HVAC | Air Distribution | Volume Control Dampers - VCD | Hook-UP | Supply Volume Control Dampers - VCD Hook-Up | 1 | Supply bolts, gaskets and duct connection accessories | LS | 1 | 20
HVAC | Air Distribution | Volume Control Dampers - VCD | Hook-UP | Supply Volume Control Dampers - VCD Hook-Up | 2 | Supply quadrant handle / locking accessories | LS | 1 | 20
HVAC | Air Distribution | Volume Control Dampers - VCD | Hook-UP | Supply Volume Control Dampers - VCD Hook-Up | 3 | Supply sealant and consumables | LS | 1 | 15
HVAC | Air Distribution | Volume Control Dampers - VCD | Labor | Installation Volume Control Dampers - VCD Complete Hook-Up | 1 | Complete installation of VCD hook-up including insertion in duct, fixing, sealing, balancing position marking and commissioning support | LS | 1 | 35
HVAC | Air Distribution | Fire Dampers | Hook-UP | Supply Fire Dampers Hook-Up | 1 | Supply duct sleeves, angles and fixing accessories | LS | 1 | 90
HVAC | Air Distribution | Fire Dampers | Hook-UP | Supply Fire Dampers Hook-Up | 2 | Supply access door accessories and labels | LS | 1 | 65
HVAC | Air Distribution | Fire Dampers | Hook-UP | Supply Fire Dampers Hook-Up | 3 | Supply fire stopping/sealant materials around penetration | LS | 1 | 70
HVAC | Air Distribution | Fire Dampers | Labor | Installation Fire Dampers Complete Hook-Up | 1 | Complete installation of fire damper hook-up including fixing in duct/wall sleeve, access provision, fire stopping, labeling and testing support | LS | 1 | 120
HVAC | Ventilation System | Exhaust Fans | Hook-UP | Supply Exhaust Fans Hook-Up | 1 | Supply flexible connector / canvas connection | Set | 1 | 65
HVAC | Ventilation System | Exhaust Fans | Hook-UP | Supply Exhaust Fans Hook-Up | 2 | Supply backdraft damper connection accessories | LS | 1 | 50
HVAC | Ventilation System | Exhaust Fans | Hook-UP | Supply Exhaust Fans Hook-Up | 3 | Supply vibration pads and supports | LS | 1 | 60
HVAC | Ventilation System | Exhaust Fans | Hook-UP | Supply Exhaust Fans Hook-Up | 4 | Supply electrical isolator termination accessories | LS | 1 | 55
HVAC | Ventilation System | Exhaust Fans | Hook-UP | Supply Exhaust Fans Hook-Up | 5 | Supply weatherproofing / sealant and consumables | LS | 1 | 35
HVAC | Ventilation System | Exhaust Fans | Labor | Installation Exhaust Fans Complete Hook-Up | 1 | Complete installation of exhaust fan hook-up including mounting, duct connection, damper connection, electrical termination, testing and balancing support | LS | 1 | 250
HVAC | Ventilation System | Fresh Air Fans | Hook-UP | Supply Fresh Air Fans Hook-Up | 1 | Supply flexible duct/duct connector accessories | Set | 1 | 80
HVAC | Ventilation System | Fresh Air Fans | Hook-UP | Supply Fresh Air Fans Hook-Up | 2 | Supply vibration isolators and fixing accessories | LS | 1 | 80
HVAC | Ventilation System | Fresh Air Fans | Hook-UP | Supply Fresh Air Fans Hook-Up | 3 | Supply inlet/outlet screen or louver connection accessories | LS | 1 | 65
HVAC | Ventilation System | Fresh Air Fans | Hook-UP | Supply Fresh Air Fans Hook-Up | 4 | Supply electrical/control termination accessories | LS | 1 | 55
HVAC | Ventilation System | Fresh Air Fans | Labor | Installation Fresh Air Fans Complete Hook-Up | 1 | Complete installation of fresh air fan hook-up including mounting, duct/louver connections, vibration isolation, electrical/control terminations, testing and balancing support | LS | 1 | 300
HVAC | Ventilation System | Jet Fans / Car Park Fans | Hook-UP | Supply Jet Fans / Car Park Fans Hook-Up | 1 | Supply heavy-duty brackets, anchors and supports | Set | 1 | 325
HVAC | Ventilation System | Jet Fans / Car Park Fans | Hook-UP | Supply Jet Fans / Car Park Fans Hook-Up | 2 | Supply vibration isolators and safety chain accessories | Set | 1 | 140
HVAC | Ventilation System | Jet Fans / Car Park Fans | Hook-UP | Supply Jet Fans / Car Park Fans Hook-Up | 3 | Supply electrical termination and local isolator accessories | LS | 1 | 100
HVAC | Ventilation System | Jet Fans / Car Park Fans | Hook-UP | Supply Jet Fans / Car Park Fans Hook-Up | 4 | Supply labels, aiming/alignment and consumables | LS | 1 | 40
HVAC | Ventilation System | Jet Fans / Car Park Fans | Labor | Installation Jet Fans / Car Park Fans Complete Hook-Up | 1 | Complete installation of jet fan hook-up including lifting, fixing, safety chain, electrical/control termination, alignment, testing and commissioning | LS | 1 | 600
Fire Fighting | Sprinkler System | Sprinkler Heads | Hook-UP | Supply Sprinkler Heads Hook-Up | 1 | Supply drop nipple connection accessories | LS | 1 | 20
Fire Fighting | Sprinkler System | Sprinkler Heads | Hook-UP | Supply Sprinkler Heads Hook-Up | 2 | Supply escutcheon plate and finishing accessories | No. | 1 | 20
Fire Fighting | Sprinkler System | Sprinkler Heads | Hook-UP | Supply Sprinkler Heads Hook-Up | 3 | Supply PTFE/thread sealant and consumables | LS | 1 | 15
Fire Fighting | Sprinkler System | Sprinkler Heads | Labor | Installation Sprinkler Heads Complete Hook-Up | 1 | Complete installation of sprinkler head hook-up including threading/fixing, alignment with ceiling, escutcheon fitting, leakage check and final adjustment | LS | 1 | 25
Fire Fighting | Sprinkler System | Flexible Sprinkler Hose | Hook-UP | Supply Flexible Sprinkler Hose Hook-Up | 1 | Supply flexible hose bracket accessories | Set | 1 | 45
Fire Fighting | Sprinkler System | Flexible Sprinkler Hose | Hook-UP | Supply Flexible Sprinkler Hose Hook-Up | 2 | Supply reducer/adaptor and sealing accessories | LS | 1 | 35
Fire Fighting | Sprinkler System | Flexible Sprinkler Hose | Hook-UP | Supply Flexible Sprinkler Hose Hook-Up | 3 | Supply ceiling support accessories and labels | LS | 1 | 20
Fire Fighting | Sprinkler System | Flexible Sprinkler Hose | Labor | Installation Flexible Sprinkler Hose Complete Hook-Up | 1 | Complete installation of flexible sprinkler hose hook-up including bracket fixing, connection to branch pipe and sprinkler head, alignment and leakage test | LS | 1 | 60
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 1 | Supply and install black steel Sch.40 fire fighting pipe DN25 (1 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 55
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 2 | Supply and install black steel Sch.40 fire fighting pipe DN32 (1 1/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 68
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 3 | Supply and install black steel Sch.40 fire fighting pipe DN40 (1 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 85
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 4 | Supply and install black steel Sch.40 fire fighting pipe DN50 (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 110
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 5 | Supply and install black steel Sch.40 fire fighting pipe DN65 (2 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 150
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 6 | Supply and install black steel Sch.40 fire fighting pipe DN80 (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 190
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 7 | Supply and install black steel Sch.40 fire fighting pipe DN100 (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 255
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 8 | Supply and install black steel Sch.40 fire fighting pipe DN125 (5 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 360
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 9 | Supply and install black steel Sch.40 fire fighting pipe DN150 (6 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 460
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 10 | Supply and install black steel Sch.40 fire fighting pipe DN200 (8 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 680
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 11 | Supply and install black steel Sch.40 fire fighting pipe DN250 (10 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 930
Fire Fighting | Sprinkler System | Fire Fighting Black Steel Pipe Network | Supply & Install | Supply & Install Fire Fighting Black Steel Pipes by Size | 12 | Supply and install black steel Sch.40 fire fighting pipe DN300 (12 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Rate is competitive budgetary SAR/m; excludes fire pump equipment and major valves. | m | 1 | 1220
Fire Fighting | Sprinkler System | Zone Control Valve Assembly | Hook-UP | Supply Zone Control Valve Assembly Hook-Up | 1 | Supply flanges, gaskets, bolts and connection accessories | Set | 1 | 160
Fire Fighting | Sprinkler System | Zone Control Valve Assembly | Hook-UP | Supply Zone Control Valve Assembly Hook-Up | 2 | Supply pressure gauges, drain and test accessories | Set | 1 | 100
Fire Fighting | Sprinkler System | Zone Control Valve Assembly | Hook-UP | Supply Zone Control Valve Assembly Hook-Up | 3 | Supply flow switch/tamper switch wiring accessories | LS | 1 | 80
Fire Fighting | Sprinkler System | Zone Control Valve Assembly | Hook-UP | Supply Zone Control Valve Assembly Hook-Up | 4 | Supply support frame, labels and consumables | LS | 1 | 100
Fire Fighting | Sprinkler System | Zone Control Valve Assembly | Labor | Installation Zone Control Valve Assembly Complete Hook-Up | 1 | Complete installation of zone control valve assembly hook-up including positioning, valve train connection, drain/test line, switch coordination, labeling, hydrotest and commissioning support | LS | 1 | 450
Fire Fighting | Fire Hose System | Fire Hose Cabinet / Hose Reel | Hook-UP | Supply Fire Hose Cabinet / Hose Reel Hook-Up | 1 | Supply cabinet fixing anchors and frame accessories | LS | 1 | 60
Fire Fighting | Fire Hose System | Fire Hose Cabinet / Hose Reel | Hook-UP | Supply Fire Hose Cabinet / Hose Reel Hook-Up | 2 | Supply valve/nozzle/hose connection accessories | LS | 1 | 110
Fire Fighting | Fire Hose System | Fire Hose Cabinet / Hose Reel | Hook-UP | Supply Fire Hose Cabinet / Hose Reel Hook-Up | 3 | Supply drain/plug and finishing accessories | LS | 1 | 25
Fire Fighting | Fire Hose System | Fire Hose Cabinet / Hose Reel | Hook-UP | Supply Fire Hose Cabinet / Hose Reel Hook-Up | 4 | Supply signage and identification labels | LS | 1 | 25
Fire Fighting | Fire Hose System | Fire Hose Cabinet / Hose Reel | Labor | Installation Fire Hose Cabinet / Hose Reel Complete Hook-Up | 1 | Complete installation of fire hose cabinet / hose reel hook-up including wall fixing, pipe connection, hose/nozzle fitting, labeling, leakage test and commissioning support | LS | 1 | 250
Fire Fighting | Fire Hose System | Landing Valve / Hydrant Valve | Hook-UP | Supply Landing Valve / Hydrant Valve Hook-Up | 1 | Supply threaded/flanged connection accessories | LS | 1 | 80
Fire Fighting | Fire Hose System | Landing Valve / Hydrant Valve | Hook-UP | Supply Landing Valve / Hydrant Valve Hook-Up | 2 | Supply cap, chain, gasket and sealing accessories | LS | 1 | 50
Fire Fighting | Fire Hose System | Landing Valve / Hydrant Valve | Hook-UP | Supply Landing Valve / Hydrant Valve Hook-Up | 3 | Supply support and labeling accessories | LS | 1 | 35
Fire Fighting | Fire Hose System | Landing Valve / Hydrant Valve | Labor | Installation Landing Valve / Hydrant Valve Complete Hook-Up | 1 | Complete installation of landing/hydrant valve hook-up including connection to riser, fixing, sealing, labeling and pressure test support | LS | 1 | 120
Fire Fighting | External Fire Fighting | Fire Hydrant | Hook-UP | Supply Fire Hydrant Hook-Up | 1 | Supply flanges, gaskets, bolts and connection accessories | Set | 1 | 200
Fire Fighting | External Fire Fighting | Fire Hydrant | Hook-UP | Supply Fire Hydrant Hook-Up | 2 | Supply thrust block coordination accessories and supports | LS | 1 | 125
Fire Fighting | External Fire Fighting | Fire Hydrant | Hook-UP | Supply Fire Hydrant Hook-Up | 3 | Supply drain gravel/connection accessories if required | LS | 1 | 70
Fire Fighting | External Fire Fighting | Fire Hydrant | Hook-UP | Supply Fire Hydrant Hook-Up | 4 | Supply signage, painting and labels | LS | 1 | 65
Fire Fighting | External Fire Fighting | Fire Hydrant | Labor | Installation Fire Hydrant Complete Hook-Up | 1 | Complete installation of external fire hydrant hook-up including positioning, flanged connection, support/thrust coordination, testing, painting and commissioning support | LS | 1 | 600
Fire Fighting | External Fire Fighting | Fire Department Connection - FDC | Hook-UP | Supply Fire Department Connection - FDC Hook-Up | 1 | Supply caps, chains and inlet accessories | Set | 1 | 195
Fire Fighting | External Fire Fighting | Fire Department Connection - FDC | Hook-UP | Supply Fire Department Connection - FDC Hook-Up | 2 | Supply check valve/drain connection accessories | LS | 1 | 110
Fire Fighting | External Fire Fighting | Fire Department Connection - FDC | Hook-UP | Supply Fire Department Connection - FDC Hook-Up | 3 | Supply wall/freestanding support and fixing accessories | LS | 1 | 110
Fire Fighting | External Fire Fighting | Fire Department Connection - FDC | Hook-UP | Supply Fire Department Connection - FDC Hook-Up | 4 | Supply signage and labels | LS | 1 | 55
Fire Fighting | External Fire Fighting | Fire Department Connection - FDC | Labor | Installation Fire Department Connection - FDC Complete Hook-Up | 1 | Complete installation of FDC hook-up including mounting, piping connection, check/drain arrangement, signage, pressure test and authority inspection support | LS | 1 | 500
Fire Fighting | Fire Pump Room | Electric Fire Pump | Hook-UP | Supply Electric Fire Pump Hook-Up | 1 | Supply suction/discharge flexible connectors and flanges | Set | 1 | 1080
Fire Fighting | Fire Pump Room | Electric Fire Pump | Hook-UP | Supply Electric Fire Pump Hook-Up | 2 | Supply eccentric reducer/concentric reducer accessories | Set | 1 | 540
Fire Fighting | Fire Pump Room | Electric Fire Pump | Hook-UP | Supply Electric Fire Pump Hook-Up | 3 | Supply pressure gauges, sensing line and drain accessories | LS | 1 | 290
Fire Fighting | Fire Pump Room | Electric Fire Pump | Hook-UP | Supply Electric Fire Pump Hook-Up | 4 | Supply vibration isolation and base fixing accessories | Set | 1 | 600
Fire Fighting | Fire Pump Room | Electric Fire Pump | Hook-UP | Supply Electric Fire Pump Hook-Up | 5 | Supply controller termination coordination accessories | LS | 1 | 200
Fire Fighting | Fire Pump Room | Electric Fire Pump | Labor | Installation Electric Fire Pump Complete Hook-Up | 1 | Complete installation of electric fire pump hook-up including placement/alignment, suction/discharge connections, sensing lines, drain, controller coordination, flushing, testing and commissioning support | LS | 1 | 2000
Fire Fighting | Fire Pump Room | Diesel Fire Pump | Hook-UP | Supply Diesel Fire Pump Hook-Up | 1 | Supply suction/discharge flexible connectors and flanges | Set | 1 | 1140
Fire Fighting | Fire Pump Room | Diesel Fire Pump | Hook-UP | Supply Diesel Fire Pump Hook-Up | 2 | Supply exhaust pipe connection accessories and supports | LS | 1 | 750
Fire Fighting | Fire Pump Room | Diesel Fire Pump | Hook-UP | Supply Diesel Fire Pump Hook-Up | 3 | Supply fuel line connection accessories | LS | 1 | 480
Fire Fighting | Fire Pump Room | Diesel Fire Pump | Hook-UP | Supply Diesel Fire Pump Hook-Up | 4 | Supply pressure gauges, sensing line and drain accessories | LS | 1 | 315
Fire Fighting | Fire Pump Room | Diesel Fire Pump | Hook-UP | Supply Diesel Fire Pump Hook-Up | 5 | Supply vibration isolation and base fixing accessories | Set | 1 | 650
Fire Fighting | Fire Pump Room | Diesel Fire Pump | Labor | Installation Diesel Fire Pump Complete Hook-Up | 1 | Complete installation of diesel fire pump hook-up including alignment, suction/discharge connections, fuel/exhaust/drain/sensing lines, controller coordination, testing and commissioning support | LS | 1 | 2500
Fire Fighting | Fire Pump Room | Jockey Pump | Hook-UP | Supply Jockey Pump Hook-Up | 1 | Supply flexible connectors, unions and flanges | Set | 1 | 270
Fire Fighting | Fire Pump Room | Jockey Pump | Hook-UP | Supply Jockey Pump Hook-Up | 2 | Supply pressure gauge and sensing line accessories | LS | 1 | 120
Fire Fighting | Fire Pump Room | Jockey Pump | Hook-UP | Supply Jockey Pump Hook-Up | 3 | Supply base fixing and vibration pad accessories | LS | 1 | 90
Fire Fighting | Fire Pump Room | Jockey Pump | Labor | Installation Jockey Pump Complete Hook-Up | 1 | Complete installation of jockey pump hook-up including placement, piping connection, sensing line, electrical coordination, testing and commissioning support | LS | 1 | 600
Fire Fighting | Fire Pump Room | Fire Pump Test Header | Hook-UP | Supply Fire Pump Test Header Hook-Up | 1 | Supply flanges, gaskets, bolts and pipe connection accessories | Set | 1 | 225
Fire Fighting | Fire Pump Room | Fire Pump Test Header | Hook-UP | Supply Fire Pump Test Header Hook-Up | 2 | Supply hose valves/caps/chains connection accessories | LS | 1 | 390
Fire Fighting | Fire Pump Room | Fire Pump Test Header | Hook-UP | Supply Fire Pump Test Header Hook-Up | 3 | Supply support frame and labels | LS | 1 | 150
Fire Fighting | Fire Pump Room | Fire Pump Test Header | Labor | Installation Fire Pump Test Header Complete Hook-Up | 1 | Complete installation of fire pump test header hook-up including mounting, piping connection, hose valve fitting, labels and flow test support | LS | 1 | 500
Fire Fighting | Fire Extinguishers | Portable Fire Extinguishers | Hook-UP | Supply Portable Fire Extinguishers Hook-Up | 1 | Supply wall bracket/cabinet fixing accessories | Set | 1 | 25
Fire Fighting | Fire Extinguishers | Portable Fire Extinguishers | Hook-UP | Supply Portable Fire Extinguishers Hook-Up | 2 | Supply signage and identification label | Set | 1 | 20
Fire Fighting | Fire Extinguishers | Portable Fire Extinguishers | Hook-UP | Supply Portable Fire Extinguishers Hook-Up | 3 | Supply inspection tag and consumables | LS | 1 | 15
Fire Fighting | Fire Extinguishers | Portable Fire Extinguishers | Labor | Installation Portable Fire Extinguishers Complete Hook-Up | 1 | Complete installation of portable fire extinguisher hook-up including wall bracket/cabinet fixing, signage, tagging and placement coordination | LS | 1 | 20
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 1 | Supply and install UPVC waste/soil drainage pipe 50 mm (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 28
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 2 | Supply and install UPVC waste/soil drainage pipe 75 mm (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 38
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 3 | Supply and install UPVC waste/soil drainage pipe 110 mm (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 55
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 4 | Supply and install UPVC waste/soil drainage pipe 160 mm (6 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 95
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 5 | Supply and install UPVC waste/soil drainage pipe 200 mm (8 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 145
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 6 | Supply and install UPVC waste/soil drainage pipe 250 mm (10 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 220
Plumbing | Drainage System | UPVC Waste / Soil Pipe Network | Supply & Install | Supply & Install UPVC Waste / Soil Pipes by Size | 7 | Supply and install UPVC waste/soil drainage pipe 315 mm (12 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes solvent cement, fittings allowance, slope setting and leak/water test support. | m | 1 | 330
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 1 | Supply and install HDPE drainage pipe 50 mm (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 45
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 2 | Supply and install HDPE drainage pipe 75 mm (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 58
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 3 | Supply and install HDPE drainage pipe 110 mm (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 85
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 4 | Supply and install HDPE drainage pipe 160 mm (6 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 140
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 5 | Supply and install HDPE drainage pipe 200 mm (8 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 210
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 6 | Supply and install HDPE drainage pipe 250 mm (10 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 310
Plumbing | Drainage System | HDPE Drainage Pipe Network | Supply & Install | Supply & Install HDPE Drainage Pipes by Size | 7 | Supply and install HDPE drainage pipe 315 mm (12 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes welding/fusion allowance, fittings allowance, supports and testing support. | m | 1 | 460
Plumbing | Vent System | UPVC Vent Pipe Network | Supply & Install | Supply & Install UPVC Vent Pipes by Size | 1 | Supply and install UPVC vent pipe 50 mm (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof termination coordination and testing support. | m | 1 | 24
Plumbing | Vent System | UPVC Vent Pipe Network | Supply & Install | Supply & Install UPVC Vent Pipes by Size | 2 | Supply and install UPVC vent pipe 75 mm (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof termination coordination and testing support. | m | 1 | 32
Plumbing | Vent System | UPVC Vent Pipe Network | Supply & Install | Supply & Install UPVC Vent Pipes by Size | 3 | Supply and install UPVC vent pipe 110 mm (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof termination coordination and testing support. | m | 1 | 48
Plumbing | Vent System | UPVC Vent Pipe Network | Supply & Install | Supply & Install UPVC Vent Pipes by Size | 4 | Supply and install UPVC vent pipe 160 mm (6 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof termination coordination and testing support. | m | 1 | 85
Plumbing | Storm Water System | UPVC Rainwater / Storm Pipe Network | Supply & Install | Supply & Install UPVC Rainwater Pipes by Size | 1 | Supply and install UPVC rainwater/storm drainage pipe 75 mm (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof/gully connection coordination and testing support. | m | 1 | 38
Plumbing | Storm Water System | UPVC Rainwater / Storm Pipe Network | Supply & Install | Supply & Install UPVC Rainwater Pipes by Size | 2 | Supply and install UPVC rainwater/storm drainage pipe 110 mm (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof/gully connection coordination and testing support. | m | 1 | 55
Plumbing | Storm Water System | UPVC Rainwater / Storm Pipe Network | Supply & Install | Supply & Install UPVC Rainwater Pipes by Size | 3 | Supply and install UPVC rainwater/storm drainage pipe 160 mm (6 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof/gully connection coordination and testing support. | m | 1 | 95
Plumbing | Storm Water System | UPVC Rainwater / Storm Pipe Network | Supply & Install | Supply & Install UPVC Rainwater Pipes by Size | 4 | Supply and install UPVC rainwater/storm drainage pipe 200 mm (8 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof/gully connection coordination and testing support. | m | 1 | 145
Plumbing | Storm Water System | UPVC Rainwater / Storm Pipe Network | Supply & Install | Supply & Install UPVC Rainwater Pipes by Size | 5 | Supply and install UPVC rainwater/storm drainage pipe 250 mm (10 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof/gully connection coordination and testing support. | m | 1 | 220
Plumbing | Storm Water System | UPVC Rainwater / Storm Pipe Network | Supply & Install | Supply & Install UPVC Rainwater Pipes by Size | 6 | Supply and install UPVC rainwater/storm drainage pipe 315 mm (12 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, roof/gully connection coordination and testing support. | m | 1 | 330
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 1 | Supply and install PPR cold water pipe 20 mm (1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 18
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 2 | Supply and install PPR cold water pipe 25 mm (3/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 23
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 3 | Supply and install PPR cold water pipe 32 mm (1 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 32
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 4 | Supply and install PPR cold water pipe 40 mm (1 1/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 45
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 5 | Supply and install PPR cold water pipe 50 mm (1 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 62
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 6 | Supply and install PPR cold water pipe 63 mm (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 88
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 7 | Supply and install PPR cold water pipe 75 mm (2 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 125
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 8 | Supply and install PPR cold water pipe 90 mm (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 170
Plumbing | Domestic Water System | PPR Cold Water Pipe Network | Supply & Install | Supply & Install PPR Cold Water Pipes by Size | 9 | Supply and install PPR cold water pipe 110 mm (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, pressure test and flushing support. | m | 1 | 240
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 1 | Supply and install PPR hot water pipe with insulation allowance 20 mm (1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 22
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 2 | Supply and install PPR hot water pipe with insulation allowance 25 mm (3/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 28
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 3 | Supply and install PPR hot water pipe with insulation allowance 32 mm (1 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 39
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 4 | Supply and install PPR hot water pipe with insulation allowance 40 mm (1 1/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 54
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 5 | Supply and install PPR hot water pipe with insulation allowance 50 mm (1 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 75
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 6 | Supply and install PPR hot water pipe with insulation allowance 63 mm (2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 105
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 7 | Supply and install PPR hot water pipe with insulation allowance 75 mm (2 1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 150
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 8 | Supply and install PPR hot water pipe with insulation allowance 90 mm (3 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 205
Plumbing | Domestic Hot Water System | PPR Hot Water Pipe Network | Supply & Install | Supply & Install PPR Hot Water Pipes by Size | 9 | Supply and install PPR hot water pipe with insulation allowance 110 mm (4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, supports, insulation allowance, pressure test and flushing support. | m | 1 | 285
Plumbing | Domestic Water System | PEX Water Pipe Network | Supply & Install | Supply & Install PEX Water Pipes by Size | 1 | Supply and install PEX water pipe 16 mm (3/8 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, sleeves/protection as required and pressure test support. | m | 1 | 15
Plumbing | Domestic Water System | PEX Water Pipe Network | Supply & Install | Supply & Install PEX Water Pipes by Size | 2 | Supply and install PEX water pipe 20 mm (1/2 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, sleeves/protection as required and pressure test support. | m | 1 | 20
Plumbing | Domestic Water System | PEX Water Pipe Network | Supply & Install | Supply & Install PEX Water Pipes by Size | 3 | Supply and install PEX water pipe 25 mm (3/4 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, sleeves/protection as required and pressure test support. | m | 1 | 28
Plumbing | Domestic Water System | PEX Water Pipe Network | Supply & Install | Supply & Install PEX Water Pipes by Size | 4 | Supply and install PEX water pipe 32 mm (1 in) including fittings allowance, cutting/jointing, supports/hangers, consumables and testing support. Includes fittings allowance, sleeves/protection as required and pressure test support. | m | 1 | 42
Plumbing | Drainage System | Floor Drains | Hook-UP | Supply Floor Drains Hook-Up | 1 | Supply drain body connection accessories | LS | 1 | 30
Plumbing | Drainage System | Floor Drains | Hook-UP | Supply Floor Drains Hook-Up | 2 | Supply waterproofing coordination/sealant accessories | LS | 1 | 20
Plumbing | Drainage System | Floor Drains | Hook-UP | Supply Floor Drains Hook-Up | 3 | Supply trap primer connection accessories if required | LS | 1 | 20
Plumbing | Drainage System | Floor Drains | Labor | Installation Floor Drains Complete Hook-Up | 1 | Complete installation of floor drain hook-up including setting level, pipe connection, waterproofing coordination, grating alignment and leakage test | LS | 1 | 70
Plumbing | Drainage System | Cleanouts | Hook-UP | Supply Cleanouts Hook-Up | 1 | Supply cleanout plug/cover fixing accessories | LS | 1 | 25
Plumbing | Drainage System | Cleanouts | Hook-UP | Supply Cleanouts Hook-Up | 2 | Supply pipe adaptor and sealing accessories | LS | 1 | 20
Plumbing | Drainage System | Cleanouts | Hook-UP | Supply Cleanouts Hook-Up | 3 | Supply finishing and protection accessories | LS | 1 | 20
Plumbing | Drainage System | Cleanouts | Labor | Installation Cleanouts Complete Hook-Up | 1 | Complete installation of cleanout hook-up including connection to drainage pipe, level alignment, cover fixing and testing support | LS | 1 | 45
Plumbing | Storm Water System | Roof Drains | Hook-UP | Supply Roof Drains Hook-Up | 1 | Supply roof drain connection accessories | LS | 1 | 45
Plumbing | Storm Water System | Roof Drains | Hook-UP | Supply Roof Drains Hook-Up | 2 | Supply waterproofing clamping/sealant accessories | LS | 1 | 40
Plumbing | Storm Water System | Roof Drains | Hook-UP | Supply Roof Drains Hook-Up | 3 | Supply gravel guard/strainer accessories | LS | 1 | 30
Plumbing | Storm Water System | Roof Drains | Labor | Installation Roof Drains Complete Hook-Up | 1 | Complete installation of roof drain hook-up including level setting, waterproofing coordination, pipe connection, strainer fitting and leakage test | LS | 1 | 90
Plumbing | Pumping System | Sump Pumps | Hook-UP | Supply Sump Pumps Hook-Up | 1 | Supply flexible connector / union and check valve accessories | Set | 1 | 210
Plumbing | Pumping System | Sump Pumps | Hook-UP | Supply Sump Pumps Hook-Up | 2 | Supply float switch cable accessories and terminations | LS | 1 | 80
Plumbing | Pumping System | Sump Pumps | Hook-UP | Supply Sump Pumps Hook-Up | 3 | Supply discharge pipe connection accessories | LS | 1 | 150
Plumbing | Pumping System | Sump Pumps | Hook-UP | Supply Sump Pumps Hook-Up | 4 | Supply base fixing, chain and lifting accessories | LS | 1 | 75
Plumbing | Pumping System | Sump Pumps | Labor | Installation Sump Pumps Complete Hook-Up | 1 | Complete installation of sump pump hook-up including placement, discharge connection, check valve/union, float switch/electrical coordination, testing and commissioning | LS | 1 | 500
Plumbing | Pumping System | Sewage Lifting Station Pumps | Hook-UP | Supply Sewage Lifting Station Pumps Hook-Up | 1 | Supply guide rail, chain and lifting accessories allowance | LS | 1 | 570
Plumbing | Pumping System | Sewage Lifting Station Pumps | Hook-UP | Supply Sewage Lifting Station Pumps Hook-Up | 2 | Supply discharge connection, check valve and isolation valve accessories | Set | 1 | 720
Plumbing | Pumping System | Sewage Lifting Station Pumps | Hook-UP | Supply Sewage Lifting Station Pumps Hook-Up | 3 | Supply float switch / level sensor accessories | LS | 1 | 270
Plumbing | Pumping System | Sewage Lifting Station Pumps | Hook-UP | Supply Sewage Lifting Station Pumps Hook-Up | 4 | Supply vent/drain connection accessories and labels | LS | 1 | 110
Plumbing | Pumping System | Sewage Lifting Station Pumps | Labor | Installation Sewage Lifting Station Pumps Complete Hook-Up | 1 | Complete installation of sewage lifting pump hook-up including guide rail/lifting chain, discharge valve set, controls/level switches, testing and commissioning | LS | 1 | 1200
Plumbing | Domestic Water System | Water Valves | Hook-UP | Supply Water Valves Hook-Up | 1 | Supply union/adaptor and sealing accessories | LS | 1 | 30
Plumbing | Domestic Water System | Water Valves | Hook-UP | Supply Water Valves Hook-Up | 2 | Supply valve tag and identification label | LS | 1 | 50
Plumbing | Domestic Water System | Water Valves | Hook-UP | Supply Water Valves Hook-Up | 3 | Supply support/access panel coordination accessories | LS | 1 | 20
Plumbing | Domestic Water System | Water Valves | Labor | Installation Water Valves Complete Hook-Up | 1 | Complete installation of water valve hook-up including pipe connection, alignment, tagging, access coordination and pressure test support | LS | 1 | 45
Plumbing | Domestic Water System | Water Meter Assembly | Hook-UP | Supply Water Meter Assembly Hook-Up | 1 | Supply union, strainer and adaptor accessories | Set | 1 | 100
Plumbing | Domestic Water System | Water Meter Assembly | Hook-UP | Supply Water Meter Assembly Hook-Up | 2 | Supply support bracket and fixing accessories | LS | 1 | 45
Plumbing | Domestic Water System | Water Meter Assembly | Hook-UP | Supply Water Meter Assembly Hook-Up | 3 | Supply valve tag and identification label | LS | 1 | 50
Plumbing | Domestic Water System | Water Meter Assembly | Labor | Installation Water Meter Assembly Complete Hook-Up | 1 | Complete installation of water meter assembly hook-up including support, upstream/downstream valve connection, meter fitting, tagging and pressure test support | LS | 1 | 150
Plumbing | Domestic Water System | Pressure Reducing Valve - PRV Assembly | Hook-UP | Supply Pressure Reducing Valve - PRV Assembly Hook-Up | 1 | Supply unions/flanges, gaskets and bolts | Set | 1 | 100
Plumbing | Domestic Water System | Pressure Reducing Valve - PRV Assembly | Hook-UP | Supply Pressure Reducing Valve - PRV Assembly Hook-Up | 2 | Supply pressure gauges and test point accessories | Set | 1 | 100
Plumbing | Domestic Water System | Pressure Reducing Valve - PRV Assembly | Hook-UP | Supply Pressure Reducing Valve - PRV Assembly Hook-Up | 3 | Supply bypass/support and label accessories | LS | 1 | 90
Plumbing | Domestic Water System | Pressure Reducing Valve - PRV Assembly | Labor | Installation Pressure Reducing Valve - PRV Assembly Complete Hook-Up | 1 | Complete installation of PRV assembly hook-up including valve train connection, gauges, bypass coordination, tagging, pressure setting and testing | LS | 1 | 220
Plumbing | Pumping System | Domestic Water Transfer Pumps | Hook-UP | Supply Domestic Water Transfer Pumps Hook-Up | 1 | Supply flexible connectors, unions/flanges and bolts | Set | 1 | 450
Plumbing | Pumping System | Domestic Water Transfer Pumps | Hook-UP | Supply Domestic Water Transfer Pumps Hook-Up | 2 | Supply pressure gauges and drain accessories | LS | 1 | 110
Plumbing | Pumping System | Domestic Water Transfer Pumps | Hook-UP | Supply Domestic Water Transfer Pumps Hook-Up | 3 | Supply vibration pads and base fixing accessories | Set | 1 | 175
Plumbing | Pumping System | Domestic Water Transfer Pumps | Hook-UP | Supply Domestic Water Transfer Pumps Hook-Up | 4 | Supply control panel/electrical coordination accessories | LS | 1 | 125
Plumbing | Pumping System | Domestic Water Transfer Pumps | Labor | Installation Domestic Water Transfer Pumps Complete Hook-Up | 1 | Complete installation of domestic water transfer pump hook-up including placement, alignment, suction/discharge connections, vibration isolation, controls coordination, testing and commissioning | LS | 1 | 850
Plumbing | Pumping System | Booster Pump Set | Hook-UP | Supply Booster Pump Set Hook-Up | 1 | Supply manifold connection accessories and flanges | Set | 1 | 720
Plumbing | Pumping System | Booster Pump Set | Hook-UP | Supply Booster Pump Set Hook-Up | 2 | Supply flexible connectors and vibration pads | Set | 1 | 540
Plumbing | Pumping System | Booster Pump Set | Hook-UP | Supply Booster Pump Set Hook-Up | 3 | Supply pressure gauges, drain and test accessories | LS | 1 | 160
Plumbing | Pumping System | Booster Pump Set | Hook-UP | Supply Booster Pump Set Hook-Up | 4 | Supply control panel termination coordination accessories | LS | 1 | 160
Plumbing | Pumping System | Booster Pump Set | Labor | Installation Booster Pump Set Complete Hook-Up | 1 | Complete installation of booster pump set hook-up including placement, manifold connection, vibration isolation, controls coordination, pressure setting, testing and commissioning | LS | 1 | 1400
Plumbing | Water Heating System | Electric Water Heaters | Hook-UP | Supply Electric Water Heaters Hook-Up | 1 | Supply isolation valves, safety valve and union accessories | Set | 1 | 130
Plumbing | Water Heating System | Electric Water Heaters | Hook-UP | Supply Electric Water Heaters Hook-Up | 2 | Supply drain pan/drain connection accessories | LS | 1 | 55
Plumbing | Water Heating System | Electric Water Heaters | Hook-UP | Supply Electric Water Heaters Hook-Up | 3 | Supply wall bracket/support and fixing accessories | LS | 1 | 75
Plumbing | Water Heating System | Electric Water Heaters | Hook-UP | Supply Electric Water Heaters Hook-Up | 4 | Supply electrical termination coordination accessories | LS | 1 | 45
Plumbing | Water Heating System | Electric Water Heaters | Labor | Installation Electric Water Heaters Complete Hook-Up | 1 | Complete installation of electric water heater hook-up including mounting, hot/cold water connections, safety valve, drain pan/drain, electrical coordination and testing | LS | 1 | 250
Plumbing | Water Heating System | Central Calorifier / Storage Heater | Hook-UP | Supply Central Calorifier / Storage Heater Hook-Up | 1 | Supply flanges, gaskets, bolts and pipe connection accessories | Set | 1 | 405
Plumbing | Water Heating System | Central Calorifier / Storage Heater | Hook-UP | Supply Central Calorifier / Storage Heater Hook-Up | 2 | Supply gauges, thermometers and safety valve accessories | Set | 1 | 270
Plumbing | Water Heating System | Central Calorifier / Storage Heater | Hook-UP | Supply Central Calorifier / Storage Heater Hook-Up | 3 | Supply drain, vent and recirculation connection accessories | LS | 1 | 160
Plumbing | Water Heating System | Central Calorifier / Storage Heater | Hook-UP | Supply Central Calorifier / Storage Heater Hook-Up | 4 | Supply support/anti-vibration accessories and labels | LS | 1 | 150
Plumbing | Water Heating System | Central Calorifier / Storage Heater | Labor | Installation Central Calorifier / Storage Heater Complete Hook-Up | 1 | Complete installation of central calorifier/storage heater hook-up including positioning, pipe connections, safety accessories, drain/vent/recirculation, testing and commissioning | LS | 1 | 1200
Plumbing | Water Storage System | GRP Water Tanks | Hook-UP | Supply GRP Water Tanks Hook-Up | 1 | Supply inlet/outlet/drain/overflow connection accessories | LS | 1 | 540
Plumbing | Water Storage System | GRP Water Tanks | Hook-UP | Supply GRP Water Tanks Hook-Up | 2 | Supply level switch/float valve accessories | LS | 1 | 270
Plumbing | Water Storage System | GRP Water Tanks | Hook-UP | Supply GRP Water Tanks Hook-Up | 3 | Supply sealant, gaskets and bolt accessories | LS | 1 | 160
Plumbing | Water Storage System | GRP Water Tanks | Hook-UP | Supply GRP Water Tanks Hook-Up | 4 | Supply labels and access accessories | LS | 1 | 100
Plumbing | Water Storage System | GRP Water Tanks | Labor | Installation GRP Water Tanks Complete Hook-Up | 1 | Complete installation of GRP water tank hook-up including tank connection nozzles, inlet/outlet/drain/overflow, float/level switch coordination, leakage test and handover | LS | 1 | 1800
Plumbing | Water Storage System | Water Tank Accessories | Hook-UP | Supply Water Tank Accessories Hook-Up | 1 | Supply float valve, strainer and overflow accessories | LS | 1 | 210
Plumbing | Water Storage System | Water Tank Accessories | Hook-UP | Supply Water Tank Accessories Hook-Up | 2 | Supply level sensor/indicator accessories | LS | 1 | 165
Plumbing | Water Storage System | Water Tank Accessories | Hook-UP | Supply Water Tank Accessories Hook-Up | 3 | Supply access ladder/vent/screen accessories allowance | LS | 1 | 250
Plumbing | Water Storage System | Water Tank Accessories | Labor | Installation Water Tank Accessories Complete Hook-Up | 1 | Complete installation of water tank accessories hook-up including fixing, pipe/control connection, labeling and testing support | LS | 1 | 350
Plumbing | Sanitary Fixtures | Wash Basin | Hook-UP | Supply Wash Basin Hook-Up | 1 | Supply angle valves, flexible hoses and waste trap accessories | Set | 1 | 110
Plumbing | Sanitary Fixtures | Wash Basin | Hook-UP | Supply Wash Basin Hook-Up | 2 | Supply wall fixing bolts, silicone and consumables | LS | 1 | 25
Plumbing | Sanitary Fixtures | Wash Basin | Labor | Installation Wash Basin Complete Hook-Up | 1 | Complete installation of wash basin hook-up including fixing, mixer/angle valves, trap/waste connection, sealing and testing | LS | 1 | 120
Plumbing | Sanitary Fixtures | Water Closet - WC | Hook-UP | Supply Water Closet - WC Hook-Up | 1 | Supply flexible hose, angle valve and connection accessories | Set | 1 | 70
Plumbing | Sanitary Fixtures | Water Closet - WC | Hook-UP | Supply Water Closet - WC Hook-Up | 2 | Supply fixing bolts, wax/rubber seal and silicone | LS | 1 | 45
Plumbing | Sanitary Fixtures | Water Closet - WC | Labor | Installation Water Closet - WC Complete Hook-Up | 1 | Complete installation of WC hook-up including fixing, water connection, waste connection, sealing and flushing test | LS | 1 | 130
Plumbing | Sanitary Fixtures | Urinals | Hook-UP | Supply Urinals Hook-Up | 1 | Supply flush valve/sensor connection accessories | LS | 1 | 110
Plumbing | Sanitary Fixtures | Urinals | Hook-UP | Supply Urinals Hook-Up | 2 | Supply waste trap, fixing and sealant accessories | LS | 1 | 50
Plumbing | Sanitary Fixtures | Urinals | Labor | Installation Urinals Complete Hook-Up | 1 | Complete installation of urinal hook-up including fixing, flush connection, waste connection, sealing and testing | LS | 1 | 120
Plumbing | Sanitary Fixtures | Shower Mixer / Shower Set | Hook-UP | Supply Shower Mixer / Shower Set Hook-Up | 1 | Supply mixer connection accessories and adapters | LS | 1 | 65
Plumbing | Sanitary Fixtures | Shower Mixer / Shower Set | Hook-UP | Supply Shower Mixer / Shower Set Hook-Up | 2 | Supply shower arm/head/hose fixing accessories | LS | 1 | 45
Plumbing | Sanitary Fixtures | Shower Mixer / Shower Set | Hook-UP | Supply Shower Mixer / Shower Set Hook-Up | 3 | Supply sealant and finishing consumables | LS | 1 | 20
Plumbing | Sanitary Fixtures | Shower Mixer / Shower Set | Labor | Installation Shower Mixer / Shower Set Complete Hook-Up | 1 | Complete installation of shower mixer/set hook-up including connection, fixing, sealing and testing | LS | 1 | 100
Plumbing | Sanitary Fixtures | Kitchen Sink | Hook-UP | Supply Kitchen Sink Hook-Up | 1 | Supply angle valves, flexible hoses and trap accessories | Set | 1 | 130
Plumbing | Sanitary Fixtures | Kitchen Sink | Hook-UP | Supply Kitchen Sink Hook-Up | 2 | Supply fixing clips, silicone and consumables | LS | 1 | 35
Plumbing | Sanitary Fixtures | Kitchen Sink | Labor | Installation Kitchen Sink Complete Hook-Up | 1 | Complete installation of kitchen sink hook-up including fixing, mixer/valve connection, waste trap connection, sealing and testing | LS | 1 | 140
Mechanical General | Builders Work | Pipe Sleeves | Hook-UP | Supply Pipe Sleeves Hook-Up | 1 | Supply sleeve pipe material and cutting accessories | LS | 1 | 40
Mechanical General | Builders Work | Pipe Sleeves | Hook-UP | Supply Pipe Sleeves Hook-Up | 2 | Supply sealant/fire stopping allowance as required | LS | 1 | 40
Mechanical General | Builders Work | Pipe Sleeves | Hook-UP | Supply Pipe Sleeves Hook-Up | 3 | Supply identification and protection accessories | LS | 1 | 20
Mechanical General | Builders Work | Pipe Sleeves | Labor | Installation Pipe Sleeves Complete Hook-Up | 1 | Complete installation of pipe sleeve hook-up including positioning coordination, fixing, protection, sealing/fire stopping coordination and handover | LS | 1 | 60
Mechanical General | Builders Work | Core Drilling | Hook-UP | Supply Core Drilling Hook-Up | 1 | Supply marking, protection and consumables | LS | 1 | 25
Mechanical General | Builders Work | Core Drilling | Hook-UP | Supply Core Drilling Hook-Up | 2 | Supply sleeve/sealant accessories allowance | LS | 1 | 35
Mechanical General | Builders Work | Core Drilling | Labor | Installation Core Drilling Complete Hook-Up | 1 | Complete core drilling work for mechanical service penetration including setting out, drilling, cleaning, protection and sleeve/sealant coordination | LS | 1 | 120
Mechanical General | Builders Work | Fire Stopping | Hook-UP | Supply Fire Stopping Hook-Up | 1 | Supply approved firestop sealant/mortar/mineral wool accessories | LS | 1 | 80
Mechanical General | Builders Work | Fire Stopping | Hook-UP | Supply Fire Stopping Hook-Up | 2 | Supply labels and inspection records accessories | LS | 1 | 20
Mechanical General | Builders Work | Fire Stopping | Labor | Installation Fire Stopping Complete Hook-Up | 1 | Complete fire stopping installation for mechanical penetrations including cleaning, backing material, sealant/mortar application, labeling and inspection support | LS | 1 | 100
Mechanical General | Supports | Pipe Supports | Hook-UP | Supply Pipe Supports Hook-Up | 1 | Supply channels, threaded rods, clamps and anchors | LS | 1 | 60
Mechanical General | Supports | Pipe Supports | Hook-UP | Supply Pipe Supports Hook-Up | 2 | Supply anti-corrosion paint and consumables | LS | 1 | 20
Mechanical General | Supports | Pipe Supports | Hook-UP | Supply Pipe Supports Hook-Up | 3 | Supply labels and identification accessories | LS | 1 | 20
Mechanical General | Supports | Pipe Supports | Labor | Installation Pipe Supports Complete Hook-Up | 1 | Complete installation of pipe support family including setting out, cutting, fixing, leveling, painting touch-up and inspection support | LS | 1 | 40
Mechanical General | Supports | Equipment Supports / Steel Frames | Hook-UP | Supply Equipment Supports / Steel Frames Hook-Up | 1 | Supply steel frame accessories, anchors and bolts | LS | 1 | 325
Mechanical General | Supports | Equipment Supports / Steel Frames | Hook-UP | Supply Equipment Supports / Steel Frames Hook-Up | 2 | Supply anti-vibration pads and leveling accessories | LS | 1 | 125
Mechanical General | Supports | Equipment Supports / Steel Frames | Hook-UP | Supply Equipment Supports / Steel Frames Hook-Up | 3 | Supply paint touch-up and labels | LS | 1 | 65
Mechanical General | Supports | Equipment Supports / Steel Frames | Labor | Installation Equipment Supports / Steel Frames Complete Hook-Up | 1 | Complete installation of equipment support/steel frame including fabrication coordination, fixing, leveling, anti-vibration accessories and inspection support | LS | 1 | 450
Mechanical General | Testing & Commissioning | Pressure Testing | Hook-UP | Supply Pressure Testing Hook-Up | 1 | Supply pressure test plugs, gauges and temporary accessories | LS | 1 | 140
Mechanical General | Testing & Commissioning | Pressure Testing | Hook-UP | Supply Pressure Testing Hook-Up | 2 | Supply water/filling/draining consumables allowance | LS | 1 | 55
Mechanical General | Testing & Commissioning | Pressure Testing | Labor | Installation Pressure Testing Complete Hook-Up | 1 | Complete pressure testing activity per system/family including preparation, filling, pressurization, inspection attendance, rectification coordination and report submission | LS | 1 | 300
Mechanical General | Testing & Commissioning | Flushing / Cleaning | Hook-UP | Supply Flushing / Cleaning Hook-Up | 1 | Supply temporary hoses, strainers and flushing consumables | LS | 1 | 160
Mechanical General | Testing & Commissioning | Flushing / Cleaning | Hook-UP | Supply Flushing / Cleaning Hook-Up | 2 | Supply chemical cleaning allowance if required | LS | 1 | 275
Mechanical General | Testing & Commissioning | Flushing / Cleaning | Labor | Installation Flushing / Cleaning Complete Hook-Up | 1 | Complete flushing/cleaning activity per system/family including temporary arrangements, circulation/flushing, cleaning, disposal coordination and report submission | LS | 1 | 400
Mechanical General | Testing & Commissioning | TAB - Testing Adjusting Balancing | Hook-UP | Supply TAB - Testing Adjusting Balancing Hook-Up | 1 | Supply measurement labels and balancing accessories | LS | 1 | 80
Mechanical General | Testing & Commissioning | TAB - Testing Adjusting Balancing | Hook-UP | Supply TAB - Testing Adjusting Balancing Hook-Up | 2 | Supply temporary access/consumables allowance | LS | 1 | 45
Mechanical General | Testing & Commissioning | TAB - Testing Adjusting Balancing | Labor | Installation TAB - Testing Adjusting Balancing Complete Hook-Up | 1 | Complete TAB activity per HVAC family including airflow/water flow measurement support, adjustment, records and report submission | LS | 1 | 600